## Sample ID
Data | Sampled for PFAS (Y/N) | Sample ID | Location | Sample type (n) | liquid content | surface tension (mN/m)
2023-11-05 | Y | ED1 | effluent | single (1) | 1 | 67.2
|  | TFD1-01 | post-tertiary foam | comp (15) | 0.0577 | 46
|  | TFD1-02 | post-tertiary foam | comp (15) | 0.0407 | 39.7
|  | WFD1 | wall foam | comp (13) | 0.0244 | 39.2
|  | RFD1 | river foam | single (1) | 0.0131 | 31.5
|  | RFD1-sampler | river foam | single (1) | 0.00927 | 31.9
2023-11-07 | Y | ED2 | effluent | single (1) | 1 | 67
|  | TFD2-01 | post-tertiary foam | comp (15) | 0.0564 | 46.7
|  | TFD2-02 | post-tertiary foam | comp (15) | 0.0452 | 45.5
|  | WFD2 | wall foam | comp (10) | 0.0322 | 41.5
|  | RFD2 | river foam | single (1) | 0.00283 | 30.9
|  | RF-S-D2 | river foam solid residual | single (1) | N/A | N/A
2023-11-09 | Y | ED3 | effluent | single (1) | 1 | 67.3
|  | TFD3-01 | post-tertiary foam | comp (15) | 0.0624 | 45.9
|  | TFD3-02 | post-tertiary foam | comp (15) | 0.0304 | 43.1
|  | WFD3 | wall foam | comp (7) | 0.0436 | 42.5
|  | RFD3 | river foam | single (1) | 0.0147 | 28.3
|  | RF-S-D3 | river foam solid residual | single (1) | N/A | N/A
2023-11-15 | Y | ED4 | effluent | single (1) | 1 | 68.4
|  | TFD4-01 | post-tertiary foam | comp (15) | 0.0533 | 47.3
|  | TFD4-02 | post-tertiary foam | comp (15) | 0.0298 | 41.9
|  | WFD4 | wall foam | comp (13) | 0.021 | 39.2
|  | RFD4 | river foam | single (1) | 0.00385 | 29.7
|  | RF-S-D4 | river foam solid residual | single (1) | N/A | N/A
2023-09-06 | N | TED1 | effluent | single (1) | 1 | 68
|  | TCD1-01 | post-tertiary foam | comp (7) | 0.123 | 61
|  | BRFD1 | river foam | comp (5) | 0.00941 | 30.1
2023-09-08 | N | TED2 | effluent | single (1) | 1 | 67.7
|  | TCD2-01 | post-tertiary foam | comp (7) | 0.0934 | 58.8
|  | TCD2-02 | post-tertiary foam | comp (7) | 0.0537 | 55.3
|  | TCD2-03 | post-tertiary foam | comp (7) | 0.106 | 57.7
|  | TCD2-04 | post-tertiary foam | comp (7) | 0.0439 | 53.4
2023-09-12 | N | TED3 | effluent | single (1) | 1 | 68.7
|  | TCD3-01 | post-tertiary foam | comp (7) | 0.0916 | 57.9
|  | TCD3-02 | post-tertiary foam | comp (7) | 0.0868 | 52.8
|  | TCD3-04 | post-tertiary foam | comp (7) | 0.0477 | 51.8
|  | BRFD3-01 | river foam | comp (5) | 0.0288 | 39.2
|  | BRFD3-02 | river foam | comp (5) | 0.0127 | 26.9
2023-09-14 | N | TED4 | effluent | single (1) | 1 | 68.7
|  | TCD4-01 | post-tertiary foam | comp (7) | 0.0449 | 50
|  | TCD4-02 | post-tertiary foam | comp (7) | 0.0791 | 58.1
|  | TCD4-03 | post-tertiary foam | comp (7) | 0.0951 | 56.8
|  | W-C-01 | wall foam | comp (7) | 0.0157 | 41.5
|  | W-C-02 | wall foam | comp (7) | 0.0181 | 44.3
|  | W-C-03 | wall foam | comp (7) | 0.0258 | 37

## PFAS conc, LOR, ISDL recoveries
| Solid Phase Extraction (SPE) | [17 empty] | Direct Injection (DI)
| ED1 | ED2 | ED3 | ED4 | TFD1-A | TFD1-B | TFD2-A | TFD2-B | TFD3-A | TFD3-B | TFD4-A | TFD4-B | WFD1 | WFD2 | WFD3 | WFD4 | RFD1 | RFD3 | ED1-DI | ED2-DI | ED3-DI | ED4-DI | TFD1-A-DI | TFD1-B-DI | TFD2-A-DI | TFD2-B-DI | TFD3-A-DI | TFD3-B-DI | TFD4-A-DI | TFD4-B-DI | WFD1-DI | WFD2-DI | WFD3-DI | WFD4-DI | RFD1-b-DI | RFD1-DI | RFD2-DI | RFD3-DI | RFD4-DI | RFD2-SR | RFD3-SR | RFD4-SR
3-3FTCA | ND | ND | ND | 62.731 | ND | 178.907 | 50.759 | 60.23 | 46.033 | 214.153 | 61.722 | 205.326 | ND | ND | 0 | 31.791 | 0 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
5-3FTCA | ND | ND | ND | ND | 6.504 | ND | 4.75 | ND | ND | 9.678 | 7.972 | ND | 25.949 | 6.832 | ND | 16.812 | 143.184 | 75.01 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
7-3FTCA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 113.696 | 113.933 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
4-2FTS | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
6-2FTS | ND | ND | ND | 22.607 | 10.649 | 30.034 | 12.778 | 18.024 | 19.344 | 64.662 | 22.682 | 70.105 | 44.952 | 37.969 | 50.57 | 82.68 | 827.369 | 1523.412 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 3271.098 | ND | ND | ND
8-2FTS | ND | ND | ND | 2.298 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 255.933 | 645.658 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 1138.119 | 11566.854 | ND | ND
NEtFOSA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 472.018 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
NEtFOSAA | ND | ND | ND | 27.269 | 17.695 | 155.934 | 7.421 | 29.665 | 9.216 | 38.044 | 32.09 | 94.343 | ND | ND | ND | 126.629 | 4910.683 | 10060.757 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 25157.176 | ND | 12220.267 | ND
NEtFOSE | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 199.5 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
NMeFOSA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
NMeFOSAA | ND | ND | ND | 30.208 | 13.041 | 136.126 | 16.572 | 34.827 | 28.002 | 80.743 | 21.012 | 105.579 | 47.171 | ND | ND | 106.62 | 3341.648 | 5615.308 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 1758596.788 | 3786.621 | 6709.975 | 8266.008 | 22430.525 | ND | 30720.961 | 50054.16
NMeFOSE | ND | ND | ND | ND | ND | ND | ND | 11.509 | ND | ND | ND | 14.988 | ND | 112.025 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFOSA | ND | ND | ND | 11.022 | 8.671 | 20.49 | 6.902 | 7.866 | 6.221 | 26.966 | 7.458 | 17.621 | 14.714 | 13.405 | 11.434 | 50.939 | 240.725 | 765.634 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 7989.275 | ND | ND | ND
PFBS | 6.76 | 6.17 | 5.326 | 5.406 | 8.381 | 13.109 | 10.341 | 16.245 | 12.94 | 19.766 | 6.698 | 16.258 | 11.225 | 15.669 | ND | 17.787 | 11.933 | 9.363 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFPeS | ND | 0.865 | ND | 1.961 | ND | 9.045 | 2.197 | 4.018 | 4.037 | 10.846 | 1.893 | 10.432 | 10.535 | 7.248 | 7.791 | ND | 17.705 | 34.977 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 165.127 | ND | ND | ND
PFHxS | 3.774 | 3.228 | 4.402 | 130.923 | 105.333 | 354.184 | 73.779 | 118.046 | 83.923 | 257.597 | 88.916 | 371.812 | 406.041 | 252.565 | 186.525 | 471.064 | 9058.045 | 6704.405 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 5428.33 | 8183.507 | 15107.476 | 7534.668 | 16849.919 | 19702.618 | ND | 30000.017
PFHpS | ND | ND | ND | 13.262 | ND | 35.598 | 7.442 | 9.578 | 6.835 | 17.151 | 7.764 | 21.73 | 32.467 | 27.36 | 29.496 | 47.423 | 1932.67 | 2156.277 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 1095.169 | 3970.701 | 2370.23 | 5943.504 | 5068.777 | 10194.267 | 10772.519 | ND
PFOS | 0.433 | ND | 1.016 | 431.659 | 291.109 | 1471.071 | 245.793 | 448.6 | 300.303 | 742.952 | 295.683 | 969.913 | 1563.553 | 948.344 | 756.358 | 1580.405 | 61768.812 | 99191.84 | ND | ND | ND | ND | 1633.304 | ND | ND | ND | ND | ND | 118.531 | 492.268 | ND | ND | 227.757 | 1215.576 | 60871.093 | 75322.246 | 135365.006 | 182007.841 | 297691.067 | 857732.662 | 806430.509 | 928592.727
PFNS | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 105.164 | 147.122 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 2905.006 | ND | ND | ND
PFDS | ND | ND | ND | ND | ND | ND | ND | ND | 2.703 | ND | ND | ND | ND | ND | ND | ND | 171.831 | 358.089 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 5297.81 | 571.26 | ND | ND | 8552.562
PFDoS | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFBA | 104.352 | 87.902 | 17.539 | 16.567 | 25.272 | 61.704 | 66.8 | 56.424 | 38.725 | 36.258 | 35.15 | 36.441 | ND | ND | ND | 27.144 | 130.541 | 102.996 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 2517.987 | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFPeA | 32.737 | 33.62 | 42.661 | 13.486 | 32.865 | 59.131 | 38.874 | 44.935 | 63.787 | 215.026 | 51.54 | 47.058 | 40.499 | 52.239 | 153.061 | 52.676 | 63.031 | 1160.926 | ND | 97.314 | 105.54 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 1163.745 | ND | ND | ND
PFHxA | 14.663 | 17.149 | 19.012 | 29.242 | 32.791 | 57.756 | 39.307 | 49.129 | 39.847 | 98.657 | 39.532 | 98.073 | 83.52 | 86.618 | 78.273 | 127.392 | 337.133 | 699.079 | ND | ND | ND | ND | 470.491 | 303.774 | 265.281 | 335.477 | 336.333 | 258.33 | ND | ND | 278.666 | 229.157 | 1218.378 | 261.659 | 772.5 | 744.432 | 1048.412 | 1120.198 | 1445.906 | ND | ND | ND
PFHpA | 2.353 | 4.293 | 3.587 | 31.735 | 22.597 | 69.478 | 28.857 | 38.566 | 22.468 | 91.425 | 32.793 | 151.295 | 79.333 | 83.173 | 61.754 | 130.211 | 323.317 | 444.158 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 1529.413 | ND | 1527.92 | ND | ND | ND
PFOA | 5.551 | 4.908 | 6.852 | 342.738 | 251.294 | 945.972 | 219.344 | 337.73 | 197.355 | 636.379 | 256.99 | 1061.47 | 1263.338 | 831.528 | 738.587 | 1526.184 | 51533.306 | 40937.806 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 913.071 | ND | 1293.455 | 928.345 | 22233.85 | 47442.014 | 66769.974 | 38872.013 | 92322.923 | 121161.248 | 41995.536 | 126079.546
PFNA | ND | ND | ND | 45.513 | 40.186 | 128.785 | 27.997 | 40.494 | 33.643 | 81.468 | 42.422 | 103.242 | 149.342 | 105.963 | 110.223 | 179.103 | 8051.751 | 13069.423 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 4291.783 | 9200.557 | 12461.502 | 16166.976 | 24968.137 | 58150.211 | 68605.053 | 68983.751
PFDA | ND | ND | ND | 20.558 | 19.099 | 51.872 | 13.658 | 19.193 | 15.38 | 40.68 | 21.377 | 49.057 | 68.805 | 50.301 | 49.879 | 77.377 | 2226.844 | 5439.481 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 2653.163 | 2455.025 | 6143.98 | 7380.091 | 16201.766 | 38745.907 | 59330.649 | 56156.762
PFUnA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 116.315 | 221.057 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFDoA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFTrDA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFTeDA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
HFPODA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
NFDHA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 1082.294 | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFMBA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFMPA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 23.854 | ND | 205.356 | 278.458 | 504.929 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
ADONA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 2.215 | 2.814 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 669.103 | ND | ND | ND | ND | ND | ND | ND | ND | ND
9Cl-PF3ONS | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 12.393 | 34.637 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
11Cl-PF3OUdS | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 458.401 | 240.887 | 311.107 | 130.353 | 155.348 | 167.466 | ND | ND | 327.814 | 90.196 | 524.6 | ND | 431.235 | 285.91 | 247.629 | 429.287 | ND | ND | ND | ND
PFEESA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
| LOQ (SPE) | [17 empty] | LOQ (DI)
| ED1 | ED2 | ED3 | ED4 | TFD1-A | TFD1-B | TFD2-A | TFD2-B | TFD3-A | TFD3-B | TFD4-A | TFD4-B | WFD1 | WFD2 | WFD3 | WFD4 | RFD1 | RFD3 | ED1-DI | ED2-DI | ED3-DI | ED4-DI | TFD1-A-DI | TFD1-B-DI | TFD2-A-DI | TFD2-B-DI | TFD3-A-DI | TFD3-B-DI | TFD4-A-DI | TFD4-B-DI | WFD1-DI | WFD2-DI | WFD3-DI | WFD4-DI | RFD1-b-DI | RFD1-DI | RFD2-DI | RFD3-DI | RFD4-DI | RFD2-SR | RFD3-SR | RFD4-SR
3-3FTCA | 12.4936 | 12.2224 | 11.9248 | 15.836 | 16.204 | 20.6424 | 15.8472 | 16.6864 | 15.68 | 32.7768 | 15.6096 | 22.236 | 73.9544 | 73.648 | 84.1 | 65.3064 | 76.72 | 75.1 | 4000 | 4000 | 4000 | 4000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 4000 | 4000 | 8000 | 8000 | 8000 | 4000 | 8000 | 8000 | 8000 | 8000 | 4000 | 40000 | 40000 | 40000
5-3FTCA | 62.468 | 61.112 | 59.624 | 79.18 | 81.02 | 103.212 | 79.236 | 83.432 | 78.4 | 163.884 | 78.048 | 111.18 | 369.772 | 368.24 | 420.5 | 326.532 | 383.6 | 375.5 | 20000 | 20000 | 20000 | 20000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 20000 | 20000 | 40000 | 40000 | 40000 | 20000 | 40000 | 40000 | 40000 | 40000 | 20000 | 200000 | 200000 | 200000
7-3FTCA | 62.468 | 61.112 | 59.624 | 79.18 | 81.02 | 103.212 | 79.236 | 83.432 | 78.4 | 163.884 | 78.048 | 111.18 | 369.772 | 368.24 | 420.5 | 326.532 | 383.6 | 375.5 | 20000 | 20000 | 20000 | 20000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 20000 | 20000 | 40000 | 40000 | 40000 | 20000 | 40000 | 40000 | 40000 | 40000 | 20000 | 200000 | 200000 | 200000
4-2FTS | 11.7127 | 11.4585 | 11.1795 | 14.8463 | 15.1913 | 19.3523 | 14.8568 | 15.6435 | 14.7 | 30.7282 | 14.634 | 20.8463 | 69.3323 | 69.045 | 78.8438 | 61.2248 | 71.925 | 70.4062 | 3750 | 3750 | 3750 | 3750 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 3750 | 3750 | 7500 | 7500 | 7500 | 3750 | 7500 | 7500 | 7500 | 7500 | 3750 | 37500 | 37500 | 37500
6-2FTS | 11.8845 | 11.6266 | 11.3435 | 15.064 | 15.4141 | 19.6361 | 15.0746 | 15.8729 | 14.9156 | 31.1789 | 14.8486 | 21.152 | 70.3491 | 70.0577 | 80.0001 | 62.1227 | 72.9799 | 71.4389 | 3805 | 3805 | 3805 | 3805 | 7610 | 7610 | 7610 | 7610 | 7610 | 7610 | 3805 | 3805 | 7610 | 7610 | 7610 | 3805 | 7610 | 7610 | 7610 | 7610 | 3805 | 38050 | 38050 | 38050
8-2FTS | 11.9939 | 11.7335 | 11.4478 | 15.2026 | 15.5558 | 19.8167 | 15.2133 | 16.0189 | 15.0528 | 31.4657 | 14.9852 | 21.3466 | 70.9962 | 70.7021 | 80.736 | 62.6941 | 73.6512 | 72.096 | 3840 | 3840 | 3840 | 3840 | 7680 | 7680 | 7680 | 7680 | 7680 | 7680 | 3840 | 3840 | 7680 | 7680 | 7680 | 3840 | 7680 | 7680 | 7680 | 7680 | 3840 | 38400 | 38400 | 38400
NEtFOSA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
NEtFOSAA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
NEtFOSE | 31.234 | 30.556 | 29.812 | 39.59 | 40.51 | 51.606 | 39.618 | 41.716 | 39.2 | 81.942 | 39.024 | 55.59 | 184.886 | 184.12 | 210.25 | 163.266 | 191.8 | 187.75 | 10000 | 10000 | 10000 | 10000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 10000 | 10000 | 20000 | 20000 | 20000 | 10000 | 20000 | 20000 | 20000 | 20000 | 10000 | 100000 | 100000 | 100000
NMeFOSA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
NMeFOSAA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
NMeFOSE | 31.234 | 30.556 | 29.812 | 39.59 | 40.51 | 51.606 | 39.618 | 41.716 | 39.2 | 81.942 | 39.024 | 55.59 | 184.886 | 184.12 | 210.25 | 163.266 | 191.8 | 187.75 | 10000 | 10000 | 10000 | 10000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 10000 | 10000 | 20000 | 20000 | 20000 | 10000 | 20000 | 20000 | 20000 | 20000 | 10000 | 100000 | 100000 | 100000
PFOSA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
PFBS | 2.7642 | 2.7042 | 2.6384 | 3.5037 | 3.5851 | 4.5671 | 3.5062 | 3.6919 | 3.4692 | 7.2519 | 3.4536 | 4.9197 | 16.3624 | 16.2946 | 18.6071 | 14.449 | 16.9743 | 16.6159 | 885 | 885 | 885 | 885 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 885 | 885 | 1770 | 1770 | 1770 | 885 | 1770 | 1770 | 1770 | 1770 | 885 | 8850 | 8850 | 8850
PFPeS | 2.936 | 2.8723 | 2.8023 | 3.7215 | 3.8079 | 4.851 | 3.7241 | 3.9213 | 3.6848 | 7.7025 | 3.6683 | 5.2255 | 17.3793 | 17.3073 | 19.7635 | 15.347 | 18.0292 | 17.6485 | 940 | 940 | 940 | 940 | 1880 | 1880 | 1880 | 1880 | 1880 | 1880 | 940 | 940 | 1880 | 1880 | 1880 | 940 | 1880 | 1880 | 1880 | 1880 | 940 | 9400 | 9400 | 9400
PFHxS | 2.8579 | 2.7959 | 2.7278 | 3.6225 | 3.7067 | 4.7219 | 3.625 | 3.817 | 3.5868 | 7.4977 | 3.5707 | 5.0865 | 16.9171 | 16.847 | 19.2379 | 14.9388 | 17.5497 | 17.1791 | 915 | 915 | 915 | 915 | 1830 | 1830 | 1830 | 1830 | 1830 | 1830 | 915 | 915 | 1830 | 1830 | 1830 | 915 | 1830 | 1830 | 1830 | 1830 | 915 | 9150 | 9150 | 9150
PFHpS | 2.9828 | 2.9181 | 2.847 | 3.7808 | 3.8687 | 4.9284 | 3.7835 | 3.9839 | 3.7436 | 7.8255 | 3.7268 | 5.3088 | 17.6566 | 17.5835 | 20.0789 | 15.5919 | 18.3169 | 17.9301 | 955 | 955 | 955 | 955 | 1910 | 1910 | 1910 | 1910 | 1910 | 1910 | 955 | 955 | 1910 | 1910 | 1910 | 955 | 1910 | 1910 | 1910 | 1910 | 955 | 9550 | 9550 | 9550
PFOS | 2.9048 | 2.8417 | 2.7725 | 3.6819 | 3.7674 | 4.7994 | 3.6845 | 3.8796 | 3.6456 | 7.6206 | 3.6292 | 5.1699 | 17.1944 | 17.1232 | 19.5532 | 15.1837 | 17.8374 | 17.4608 | 930 | 930 | 930 | 930 | 1860 | 1860 | 1860 | 1860 | 1860 | 1860 | 930 | 930 | 1860 | 1860 | 1860 | 930 | 1860 | 1860 | 1860 | 1860 | 930 | 9300 | 9300 | 9300
PFNS | 2.9985 | 2.9334 | 2.862 | 3.8006 | 3.889 | 4.9542 | 3.8033 | 4.0047 | 3.7632 | 7.8664 | 3.7463 | 5.3366 | 17.7491 | 17.6755 | 20.184 | 15.6735 | 18.4128 | 18.024 | 960 | 960 | 960 | 960 | 1920 | 1920 | 1920 | 1920 | 1920 | 1920 | 960 | 960 | 1920 | 1920 | 1920 | 960 | 1920 | 1920 | 1920 | 1920 | 960 | 9600 | 9600 | 9600
PFDS | 3.0141 | 2.9487 | 2.8769 | 3.8204 | 3.9092 | 4.98 | 3.8231 | 4.0256 | 3.7828 | 7.9074 | 3.7658 | 5.3644 | 17.8415 | 17.7676 | 20.2891 | 15.7552 | 18.5087 | 18.1179 | 965 | 965 | 965 | 965 | 1930 | 1930 | 1930 | 1930 | 1930 | 1930 | 965 | 965 | 1930 | 1930 | 1930 | 965 | 1930 | 1930 | 1930 | 1930 | 965 | 9650 | 9650 | 9650
PFDoS | 3.0297 | 2.9639 | 2.8918 | 3.8402 | 3.9295 | 5.0058 | 3.8429 | 4.0465 | 3.8024 | 7.9484 | 3.7853 | 5.3922 | 17.9339 | 17.8596 | 20.3942 | 15.8368 | 18.6046 | 18.2118 | 970 | 970 | 970 | 970 | 1940 | 1940 | 1940 | 1940 | 1940 | 1940 | 970 | 970 | 1940 | 1940 | 1940 | 970 | 1940 | 1940 | 1940 | 1940 | 970 | 9700 | 9700 | 9700
PFBA | 12.4936 | 12.2224 | 11.9248 | 15.836 | 16.204 | 20.6424 | 15.8472 | 16.6864 | 15.68 | 32.7768 | 15.6096 | 22.236 | 73.9544 | 73.648 | 84.1 | 65.3064 | 76.72 | 75.1 | 4000 | 4000 | 4000 | 4000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 4000 | 4000 | 8000 | 8000 | 8000 | 4000 | 8000 | 8000 | 8000 | 8000 | 4000 | 40000 | 40000 | 40000
PFPeA | 6.2468 | 6.1112 | 5.9624 | 7.918 | 8.102 | 10.3212 | 7.9236 | 8.3432 | 7.84 | 16.3884 | 7.8048 | 11.118 | 36.9772 | 36.824 | 42.05 | 32.6532 | 38.36 | 37.55 | 2000 | 2000 | 2000 | 2000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 2000 | 2000 | 4000 | 4000 | 4000 | 2000 | 4000 | 4000 | 4000 | 4000 | 2000 | 20000 | 20000 | 20000
PFHxA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
PFHpA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
PFOA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
PFNA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
PFDA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
PFUnA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
PFDoA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
PFTrDA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
PFTeDA | 3.1234 | 3.0556 | 2.9812 | 3.959 | 4.051 | 5.1606 | 3.9618 | 4.1716 | 3.92 | 8.1942 | 3.9024 | 5.559 | 18.4886 | 18.412 | 21.025 | 16.3266 | 19.18 | 18.775 | 1000 | 1000 | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 2000 | 2000 | 2000 | 1000 | 2000 | 2000 | 2000 | 2000 | 1000 | 10000 | 10000 | 10000
HFPODA | 12.4936 | 12.2224 | 11.9248 | 15.836 | 16.204 | 20.6424 | 15.8472 | 16.6864 | 15.68 | 32.7768 | 15.6096 | 22.236 | 73.9544 | 73.648 | 84.1 | 65.3064 | 76.72 | 75.1 | 4000 | 4000 | 4000 | 4000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 4000 | 4000 | 8000 | 8000 | 8000 | 4000 | 8000 | 8000 | 8000 | 8000 | 4000 | 40000 | 40000 | 40000
NFDHA | 5.5597 | 5.439 | 5.3065 | 7.047 | 7.2108 | 9.1859 | 7.052 | 7.4254 | 6.9776 | 14.5857 | 6.9463 | 9.895 | 32.9097 | 32.7734 | 37.4245 | 29.0613 | 34.1404 | 33.4195 | 1780 | 1780 | 1780 | 1780 | 3560 | 3560 | 3560 | 3560 | 3560 | 3560 | 1780 | 1780 | 3560 | 3560 | 3560 | 1780 | 3560 | 3560 | 3560 | 3560 | 1780 | 17800 | 17800 | 17800
PFMBA | 6.2468 | 6.1112 | 5.9624 | 7.918 | 8.102 | 10.3212 | 7.9236 | 8.3432 | 7.84 | 16.3884 | 7.8048 | 11.118 | 36.9772 | 36.824 | 42.05 | 32.6532 | 38.36 | 37.55 | 2000 | 2000 | 2000 | 2000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 2000 | 2000 | 4000 | 4000 | 4000 | 2000 | 4000 | 4000 | 4000 | 4000 | 2000 | 20000 | 20000 | 20000
PFMPA | 6.2468 | 6.1112 | 5.9624 | 7.918 | 8.102 | 10.3212 | 7.9236 | 8.3432 | 7.84 | 16.3884 | 7.8048 | 11.118 | 36.9772 | 36.824 | 42.05 | 32.6532 | 38.36 | 37.55 | 2000 | 2000 | 2000 | 2000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 2000 | 2000 | 4000 | 4000 | 4000 | 2000 | 4000 | 4000 | 4000 | 4000 | 2000 | 20000 | 20000 | 20000
ADONA | 11.8065 | 11.5502 | 11.2689 | 14.965 | 15.3128 | 19.5071 | 14.9756 | 15.7686 | 14.8176 | 30.9741 | 14.7511 | 21.013 | 69.8869 | 69.5974 | 79.4745 | 61.7145 | 72.5004 | 70.9695 | 3780 | 3780 | 3780 | 3780 | 7560 | 7560 | 7560 | 7560 | 7560 | 7560 | 3780 | 3780 | 7560 | 7560 | 7560 | 3780 | 7560 | 7560 | 7560 | 7560 | 3780 | 37800 | 37800 | 37800
9Cl-PF3ONS | 11.6659 | 11.4127 | 11.1348 | 14.7869 | 15.1305 | 19.2748 | 14.7973 | 15.5809 | 14.6412 | 30.6053 | 14.5755 | 20.7629 | 69.0549 | 68.7688 | 78.5284 | 60.9799 | 71.6373 | 70.1246 | 3735 | 3735 | 3735 | 3735 | 7470 | 7470 | 7470 | 7470 | 7470 | 7470 | 3735 | 3735 | 7470 | 7470 | 7470 | 3735 | 7470 | 7470 | 7470 | 7470 | 3735 | 37350 | 37350 | 37350
11Cl-PF3OUdS | 11.7908 | 11.5349 | 11.254 | 14.9452 | 15.2925 | 19.4813 | 14.9558 | 15.7478 | 14.798 | 30.9331 | 14.7316 | 20.9852 | 69.7945 | 69.5053 | 79.3694 | 61.6329 | 72.4045 | 70.8756 | 3775 | 3775 | 3775 | 3775 | 7550 | 7550 | 7550 | 7550 | 7550 | 7550 | 3775 | 3775 | 7550 | 7550 | 7550 | 3775 | 7550 | 7550 | 7550 | 7550 | 3775 | 37750 | 37750 | 37750
PFEESA | 6.2468 | 6.1112 | 5.9624 | 7.918 | 8.102 | 10.3212 | 7.9236 | 8.3432 | 7.84 | 16.3884 | 7.8048 | 11.118 | 36.9772 | 36.824 | 42.05 | 32.6532 | 38.36 | 37.55 | 2000 | 2000 | 2000 | 2000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 2000 | 2000 | 4000 | 4000 | 4000 | 2000 | 4000 | 4000 | 4000 | 4000 | 2000 | 20000 | 20000 | 20000
| LOD (SPE) | [17 empty] | LOD (DI)
| ED1 | ED2 | ED3 | ED4 | TFD1-A | TFD1-B | TFD2-A | TFD2-B | TFD3-A | TFD3-B | TFD4-A | TFD4-B | WFD1 | WFD2 | WFD3 | WFD4 | RFD1 | RFD3 | ED1-DI | ED2-DI | ED3-DI | ED4-DI | TFD1-A-DI | TFD1-B-DI | TFD2-A-DI | TFD2-B-DI | TFD3-A-DI | TFD3-B-DI | TFD4-A-DI | TFD4-B-DI | WFD1-DI | WFD2-DI | WFD3-DI | WFD4-DI | RFD1-b-DI | RFD1-DI | RFD2-DI | RFD3-DI | RFD4-DI | RFD2-SR | RFD3-SR | RFD4-SR
3-3FTCA | 3.7481 | 3.6667 | 3.5774 | 4.7508 | 4.8612 | 6.1927 | 4.7542 | 5.0059 | 4.704 | 9.833 | 4.6829 | 6.6708 | 22.1863 | 22.0944 | 25.23 | 19.5919 | 23.016 | 22.53 | 1200 | 1200 | 1200 | 1200 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 1200 | 1200 | 2400 | 2400 | 2400 | 1200 | 2400 | 2400 | 2400 | 2400 | 1200 | 12000 | 12000 | 12000
5-3FTCA | 18.7404 | 18.3336 | 17.8872 | 23.754 | 24.306 | 30.9636 | 23.7708 | 25.0296 | 23.52 | 49.1652 | 23.4144 | 33.354 | 110.9316 | 110.472 | 126.15 | 97.9596 | 115.08 | 112.65 | 6000 | 6000 | 6000 | 6000 | 12000 | 12000 | 12000 | 12000 | 12000 | 12000 | 6000 | 6000 | 12000 | 12000 | 12000 | 6000 | 12000 | 12000 | 12000 | 12000 | 6000 | 60000 | 60000 | 60000
7-3FTCA | 18.7404 | 18.3336 | 17.8872 | 23.754 | 24.306 | 30.9636 | 23.7708 | 25.0296 | 23.52 | 49.1652 | 23.4144 | 33.354 | 110.9316 | 110.472 | 126.15 | 97.9596 | 115.08 | 112.65 | 6000 | 6000 | 6000 | 6000 | 12000 | 12000 | 12000 | 12000 | 12000 | 12000 | 6000 | 6000 | 12000 | 12000 | 12000 | 6000 | 12000 | 12000 | 12000 | 12000 | 6000 | 60000 | 60000 | 60000
4-2FTS | 3.5138 | 3.4375 | 3.3538 | 4.4539 | 4.5574 | 5.8057 | 4.457 | 4.693 | 4.41 | 9.2185 | 4.3902 | 6.2539 | 20.7997 | 20.7135 | 23.6531 | 18.3674 | 21.5775 | 21.1219 | 1125 | 1125 | 1125 | 1125 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 | 1125 | 1125 | 2250 | 2250 | 2250 | 1125 | 2250 | 2250 | 2250 | 2250 | 1125 | 11250 | 11250 | 11250
6-2FTS | 3.5654 | 3.488 | 3.403 | 4.5192 | 4.6242 | 5.8908 | 4.5224 | 4.7619 | 4.4747 | 9.3537 | 4.4546 | 6.3456 | 21.1047 | 21.0173 | 24 | 18.6368 | 21.894 | 21.4317 | 1141.5 | 1141.5 | 1141.5 | 1141.5 | 2283 | 2283 | 2283 | 2283 | 2283 | 2283 | 1141.5 | 1141.5 | 2283 | 2283 | 2283 | 1141.5 | 2283 | 2283 | 2283 | 2283 | 1141.5 | 11415 | 11415 | 11415
8-2FTS | 3.5982 | 3.5201 | 3.4343 | 4.5608 | 4.6668 | 5.945 | 4.564 | 4.8057 | 4.5158 | 9.4397 | 4.4956 | 6.404 | 21.2989 | 21.2106 | 24.2208 | 18.8082 | 22.0954 | 21.6288 | 1152 | 1152 | 1152 | 1152 | 2304 | 2304 | 2304 | 2304 | 2304 | 2304 | 1152 | 1152 | 2304 | 2304 | 2304 | 1152 | 2304 | 2304 | 2304 | 2304 | 1152 | 11520 | 11520 | 11520
NEtFOSA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
NEtFOSAA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
NEtFOSE | 9.3702 | 9.1668 | 8.9436 | 11.877 | 12.153 | 15.4818 | 11.8854 | 12.5148 | 11.76 | 24.5826 | 11.7072 | 16.677 | 55.4658 | 55.236 | 63.075 | 48.9798 | 57.54 | 56.325 | 3000 | 3000 | 3000 | 3000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 3000 | 3000 | 6000 | 6000 | 6000 | 3000 | 6000 | 6000 | 6000 | 6000 | 3000 | 30000 | 30000 | 30000
NMeFOSA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
NMeFOSAA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
NMeFOSE | 9.3702 | 9.1668 | 8.9436 | 11.877 | 12.153 | 15.4818 | 11.8854 | 12.5148 | 11.76 | 24.5826 | 11.7072 | 16.677 | 55.4658 | 55.236 | 63.075 | 48.9798 | 57.54 | 56.325 | 3000 | 3000 | 3000 | 3000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 3000 | 3000 | 6000 | 6000 | 6000 | 3000 | 6000 | 6000 | 6000 | 6000 | 3000 | 30000 | 30000 | 30000
PFOSA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
PFBS | 0.82926 | 0.81126 | 0.79151 | 1.0511 | 1.0755 | 1.3701 | 1.0519 | 1.1076 | 1.0408 | 2.1756 | 1.0361 | 1.4759 | 4.9087 | 4.8884 | 5.5821 | 4.3347 | 5.0923 | 4.9848 | 265.5 | 265.5 | 265.5 | 265.5 | 531 | 531 | 531 | 531 | 531 | 531 | 265.5 | 265.5 | 531 | 531 | 531 | 265.5 | 531 | 531 | 531 | 531 | 265.5 | 2655 | 2655 | 2655
PFPeS | 0.8808 | 0.86168 | 0.8407 | 1.1164 | 1.1424 | 1.4553 | 1.1172 | 1.1764 | 1.1054 | 2.3108 | 1.1005 | 1.5676 | 5.2138 | 5.1922 | 5.9291 | 4.6041 | 5.4088 | 5.2945 | 282 | 282 | 282 | 282 | 564 | 564 | 564 | 564 | 564 | 564 | 282 | 282 | 564 | 564 | 564 | 282 | 564 | 564 | 564 | 564 | 282 | 2820 | 2820 | 2820
PFHxS | 0.85737 | 0.83876 | 0.81834 | 1.0867 | 1.112 | 1.4166 | 1.0875 | 1.1451 | 1.076 | 2.2493 | 1.0712 | 1.5259 | 5.0751 | 5.0541 | 5.7714 | 4.4817 | 5.2649 | 5.1537 | 274.5 | 274.5 | 274.5 | 274.5 | 549 | 549 | 549 | 549 | 549 | 549 | 274.5 | 274.5 | 549 | 549 | 549 | 274.5 | 549 | 549 | 549 | 549 | 274.5 | 2745 | 2745 | 2745
PFHpS | 0.89485 | 0.87543 | 0.85411 | 1.1343 | 1.1606 | 1.4785 | 1.1351 | 1.1952 | 1.1231 | 2.3476 | 1.118 | 1.5927 | 5.297 | 5.275 | 6.0237 | 4.6776 | 5.4951 | 5.379 | 286.5 | 286.5 | 286.5 | 286.5 | 573 | 573 | 573 | 573 | 573 | 573 | 286.5 | 286.5 | 573 | 573 | 573 | 286.5 | 573 | 573 | 573 | 573 | 286.5 | 2865 | 2865 | 2865
PFOS | 0.87143 | 0.85251 | 0.83175 | 1.1046 | 1.1302 | 1.4398 | 1.1053 | 1.1639 | 1.0937 | 2.2862 | 1.0888 | 1.551 | 5.1583 | 5.1369 | 5.866 | 4.5551 | 5.3512 | 5.2382 | 279 | 279 | 279 | 279 | 558 | 558 | 558 | 558 | 558 | 558 | 279 | 279 | 558 | 558 | 558 | 279 | 558 | 558 | 558 | 558 | 279 | 2790 | 2790 | 2790
PFNS | 0.89954 | 0.88001 | 0.85859 | 1.1402 | 1.1667 | 1.4863 | 1.141 | 1.2014 | 1.129 | 2.3599 | 1.1239 | 1.601 | 5.3247 | 5.3027 | 6.0552 | 4.7021 | 5.5238 | 5.4072 | 288 | 288 | 288 | 288 | 576 | 576 | 576 | 576 | 576 | 576 | 288 | 288 | 576 | 576 | 576 | 288 | 576 | 576 | 576 | 576 | 288 | 2880 | 2880 | 2880
PFDS | 0.90422 | 0.8846 | 0.86306 | 1.1461 | 1.1728 | 1.494 | 1.1469 | 1.2077 | 1.1348 | 2.3722 | 1.1297 | 1.6093 | 5.3524 | 5.3303 | 6.0867 | 4.7266 | 5.5526 | 5.4354 | 289.5 | 289.5 | 289.5 | 289.5 | 579 | 579 | 579 | 579 | 579 | 579 | 289.5 | 289.5 | 579 | 579 | 579 | 289.5 | 579 | 579 | 579 | 579 | 289.5 | 2895 | 2895 | 2895
PFDoS | 0.90891 | 0.88918 | 0.86753 | 1.1521 | 1.1788 | 1.5017 | 1.1529 | 1.2139 | 1.1407 | 2.3845 | 1.1356 | 1.6177 | 5.3802 | 5.3579 | 6.1183 | 4.751 | 5.5814 | 5.4635 | 291 | 291 | 291 | 291 | 582 | 582 | 582 | 582 | 582 | 582 | 291 | 291 | 582 | 582 | 582 | 291 | 582 | 582 | 582 | 582 | 291 | 2910 | 2910 | 2910
PFBA | 3.7481 | 3.6667 | 3.5774 | 4.7508 | 4.8612 | 6.1927 | 4.7542 | 5.0059 | 4.704 | 9.833 | 4.6829 | 6.6708 | 22.1863 | 22.0944 | 25.23 | 19.5919 | 23.016 | 22.53 | 1200 | 1200 | 1200 | 1200 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 1200 | 1200 | 2400 | 2400 | 2400 | 1200 | 2400 | 2400 | 2400 | 2400 | 1200 | 12000 | 12000 | 12000
PFPeA | 1.874 | 1.8334 | 1.7887 | 2.3754 | 2.4306 | 3.0964 | 2.3771 | 2.503 | 2.352 | 4.9165 | 2.3414 | 3.3354 | 11.0932 | 11.0472 | 12.615 | 9.796 | 11.508 | 11.265 | 600 | 600 | 600 | 600 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 600 | 600 | 1200 | 1200 | 1200 | 600 | 1200 | 1200 | 1200 | 1200 | 600 | 6000 | 6000 | 6000
PFHxA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
PFHpA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
PFOA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
PFNA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
PFDA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
PFUnA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
PFDoA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
PFTrDA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
PFTeDA | 0.93702 | 0.91668 | 0.89436 | 1.1877 | 1.2153 | 1.5482 | 1.1885 | 1.2515 | 1.176 | 2.4583 | 1.1707 | 1.6677 | 5.5466 | 5.5236 | 6.3075 | 4.898 | 5.754 | 5.6325 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 600 | 600 | 300 | 300 | 600 | 600 | 600 | 300 | 600 | 600 | 600 | 600 | 300 | 3000 | 3000 | 3000
HFPODA | 3.7481 | 3.6667 | 3.5774 | 4.7508 | 4.8612 | 6.1927 | 4.7542 | 5.0059 | 4.704 | 9.833 | 4.6829 | 6.6708 | 22.1863 | 22.0944 | 25.23 | 19.5919 | 23.016 | 22.53 | 1200 | 1200 | 1200 | 1200 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 1200 | 1200 | 2400 | 2400 | 2400 | 1200 | 2400 | 2400 | 2400 | 2400 | 1200 | 12000 | 12000 | 12000
NFDHA | 1.6679 | 1.6317 | 1.592 | 2.1141 | 2.1632 | 2.7558 | 2.1156 | 2.2276 | 2.0933 | 4.3757 | 2.0839 | 2.9685 | 9.8729 | 9.832 | 11.2273 | 8.7184 | 10.2421 | 10.0259 | 534 | 534 | 534 | 534 | 1068 | 1068 | 1068 | 1068 | 1068 | 1068 | 534 | 534 | 1068 | 1068 | 1068 | 534 | 1068 | 1068 | 1068 | 1068 | 534 | 5340 | 5340 | 5340
PFMBA | 1.874 | 1.8334 | 1.7887 | 2.3754 | 2.4306 | 3.0964 | 2.3771 | 2.503 | 2.352 | 4.9165 | 2.3414 | 3.3354 | 11.0932 | 11.0472 | 12.615 | 9.796 | 11.508 | 11.265 | 600 | 600 | 600 | 600 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 600 | 600 | 1200 | 1200 | 1200 | 600 | 1200 | 1200 | 1200 | 1200 | 600 | 6000 | 6000 | 6000
PFMPA | 1.874 | 1.8334 | 1.7887 | 2.3754 | 2.4306 | 3.0964 | 2.3771 | 2.503 | 2.352 | 4.9165 | 2.3414 | 3.3354 | 11.0932 | 11.0472 | 12.615 | 9.796 | 11.508 | 11.265 | 600 | 600 | 600 | 600 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 600 | 600 | 1200 | 1200 | 1200 | 600 | 1200 | 1200 | 1200 | 1200 | 600 | 6000 | 6000 | 6000
ADONA | 3.5419 | 3.4651 | 3.3807 | 4.4895 | 4.5938 | 5.8521 | 4.4927 | 4.7306 | 4.4453 | 9.2922 | 4.4253 | 6.3039 | 20.9661 | 20.8792 | 23.8423 | 18.5144 | 21.7501 | 21.2908 | 1134 | 1134 | 1134 | 1134 | 2268 | 2268 | 2268 | 2268 | 2268 | 2268 | 1134 | 1134 | 2268 | 2268 | 2268 | 1134 | 2268 | 2268 | 2268 | 2268 | 1134 | 11340 | 11340 | 11340
9Cl-PF3ONS | 3.4998 | 3.4238 | 3.3404 | 4.4361 | 4.5391 | 5.7825 | 4.4392 | 4.6743 | 4.3924 | 9.1816 | 4.3726 | 6.2289 | 20.7165 | 20.6306 | 23.5585 | 18.294 | 21.4912 | 21.0374 | 1120.5 | 1120.5 | 1120.5 | 1120.5 | 2241 | 2241 | 2241 | 2241 | 2241 | 2241 | 1120.5 | 1120.5 | 2241 | 2241 | 2241 | 1120.5 | 2241 | 2241 | 2241 | 2241 | 1120.5 | 11205 | 11205 | 11205
11Cl-PF3OUdS | 3.5373 | 3.4605 | 3.3762 | 4.4836 | 4.5878 | 5.8444 | 4.4867 | 4.7243 | 4.4394 | 9.2799 | 4.4195 | 6.2956 | 20.9383 | 20.8516 | 23.8108 | 18.4899 | 21.7213 | 21.2627 | 1132.5 | 1132.5 | 1132.5 | 1132.5 | 2265 | 2265 | 2265 | 2265 | 2265 | 2265 | 1132.5 | 1132.5 | 2265 | 2265 | 2265 | 1132.5 | 2265 | 2265 | 2265 | 2265 | 1132.5 | 11325 | 11325 | 11325
PFEESA | 1.874 | 1.8334 | 1.7887 | 2.3754 | 2.4306 | 3.0964 | 2.3771 | 2.503 | 2.352 | 4.9165 | 2.3414 | 3.3354 | 11.0932 | 11.0472 | 12.615 | 9.796 | 11.508 | 11.265 | 600 | 600 | 600 | 600 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 600 | 600 | 1200 | 1200 | 1200 | 600 | 1200 | 1200 | 1200 | 1200 | 600 | 6000 | 6000 | 6000
| % ISDL Recoveries (SPE) | [17 empty] | % ISDL Recoveries (DI)
| ED1 | ED2 | ED3 | ED4 | TFD1-A | TFD1-B | TFD2-A | TFD2-B | TFD3-A | TFD3-B | TFD4-A | TFD4-B | WFD1 | WFD2 | WFD3 | WFD4 | RFD1 | RFD3 | ED1-DI | ED2-DI | ED3-DI | ED4-DI | TFD1-A-DI | TFD1-B-DI | TFD2-A-DI | TFD2-B-DI | TFD3-A-DI | TFD3-B-DI | TFD4-A-DI | TFD4-B-DI | WFD1-DI | WFD2-DI | WFD3-DI | WFD4-DI | RFD1-b-DI | RFD1-DI | RFD2-DI | RFD3-DI | RFD4-DI | RFD2-SR | RFD3-SR | RFD4-SR
M2-4-2FTS | 90.1455 | 99.1118 | 109.0736 | 128 | 67 | 90.3799 | 151 | 179.5422 | 135.3046 | 162.1412 | 112.1139 | 219.9191 | 133.0571 | 130.1021 | 126.0233 | 153.0874 | 215 | 97 | 51.5814 | 75.528 | 75 | 79 | 133.4484 | 133.3861 | 137 | 88 | 128 | 143 | 27 | 33.5111 | 140.79 | 147 | 166 | 78 | 146 | 132 | 128 | 87 | 107 | 76.7675 | 77 | 81
M2-6-2FTS | 87.4425 | 92.1758 | 82.9691 | 143 | 59 | 131.8968 | 133 | 155.3826 | 130.8028 | 162.5069 | 95.1794 | 272.0074 | 140.7632 | 119.1825 | 121.5158 | 168.6209 | 269 | 221 | 75.4999 | 87.2315 | 96 | 69 | 149.2784 | 85.7655 | 145 | 115 | 133 | 140 | 41 | 48.1045 | 139.7126 | 147 | 154 | 82 | 151 | 162 | 152 | 121 | 140 | 98.1127 | 80 | 89
M2-8-2FTS | 63.6559 | 66.8811 | 65.2983 | 98 | 50 | 70.3332 | 105 | 103.312 | 79.4721 | 85.5317 | 67.4925 | 113.5949 | 91.1419 | 78.354 | 76.7729 | 102.1463 | 84 | 63 | 61.5929 | 72.5228 | 96 | 63 | 97.1938 | 85.1649 | 89 | 86 | 90 | 92 | 55 | 52.694 | 77.5696 | 77 | 98 | 73 | 96 | 93 | 97 | 86 | 102 | 63.3295 | 62 | 65
M2PFDA | 98.3258 | 89.5293 | 82.0313 | 85 | 49 | 64.7179 | 83 | 85.8282 | 87.2193 | 82.7424 | 65.5607 | 97.3986 | 87.2479 | 94.1638 | 84.4106 | 90.6762 | 71 | 66 | 138.6558 | 128.0186 | 126 | 131 | 146.7963 | 133.1352 | 118 | 143 | 144 | 124 | 135 | 147.2574 | 121.337 | 105 | 111 | 166 | 144 | 158 | 148 | 112 | 178 | 146.2219 | 129 | 150
M2PFDoA | 71.4026 | 67.9645 | 67.5227 | 67 | 12 | 43.7402 | 73 | 60.013 | 66.7878 | 59.8544 | 43.8019 | 69.0327 | 65.4644 | 68.1538 | 69.7058 | 69.4396 | 42 | 34 | 99.2888 | 94.0144 | 84 | 92 | 110.2808 | 105.5194 | 95 | 42 | 101 | 45 | 97 | 105.8912 | 103.4609 | 38 | 38 | 112 | 43 | 112 | 108 | 103 | 110 | 107.7202 | 41 | 106
M2PFHxA | 99.3336 | 106.6321 | 101.0341 | 88 | 50 | 65.336 | 90 | 88.367 | 91.1327 | 82.9235 | 69.7049 | 96.1387 | 88.0741 | 89.7573 | 92.3115 | 93.6081 | 83 | 68 | 59.6925 | 76.4736 | 78 | 146 | 143.659 | 89.2593 | 143 | 92 | 138 | 151 | 60 | 78.5273 | 144.9069 | 146 | 130 | 182 | 144 | 145 | 140 | 89 | 171 | 152.0115 | 142 | 160
M2PFHxS | 97.5154 | 94.8932 | 86.0222 | 77 | 52 | 61.8303 | 82 | 70.9336 | 77.4186 | 80.516 | 63.5313 | 88.9137 | 90.4241 | 88.5843 | 87.5099 | 86.0623 | 65 | 71 | 80.1533 | 85.8538 | 78 | 150 | 132.3704 | 90.2312 | 114 | 119 | 112 | 141 | 82 | 99.5857 | 136.886 | 119 | 139 | 153 | 132 | 126 | 133 | 78 | 167 | 145.5884 | 160 | 133
M2PFTeDA | 42.1999 | 45.6316 | 38.7899 | 40 | 0 | 22.6725 | 38 | 34.5759 | 42.5078 | 47.6598 | 30.2894 | 34.5541 | 49.8801 | 59.4638 | 56.4592 | 45.5331 | 13 | 16 | 105.0162 | 86.5535 | 85 | 41 | 109.9064 | 87.8025 | 99 | 60 | 100 | 56 | 106 | 119.7693 | 105.3037 | 52 | 52 | 91 | 107 | 100 | 104 | 106 | 98 | 79.9048 | 48 | 105
M3HFPODA | 87.2882 | 86.3514 | 81.9502 | 69 | 45 | 57.2433 | 81 | 78.8554 | 78.4591 | 75.4311 | 61.2178 | 79.77 | 81.8462 | 88.0987 | 89.3233 | 77.3728 | 76 | 76 | 39.8147 | 58.435 | 56 | 95 | 103.6089 | 58.5292 | 100 | 67 | 98 | 104 | 43 | 45.8553 | 104.2433 | 100 | 100 | 107 | 102 | 105 | 100 | 69 | 111 | 104.1388 | 96 | 110
M3NMeFOSA | 40.5603 | 43.3437 | 44.3804 | 51 | 17 | 37.8944 | 51 | 44.229 | 39.5933 | 43.4686 | 33.0287 | 57.3465 | 35.0138 | 42.1039 | 48.006 | 48.5427 | 45 | 97 | 84.7207 | 90.4528 | 58 | 82 | 76.7082 | 45.9539 | 88 | 53 | 82 | 47 | 88 | 89.6804 | 90.9608 | 46 | 43 | 53 | 93 | 78 | 69 | 45 | 55 | 40.4913 | 53 | 54
M3NMeFOSAA | 66.7244 | 66.1551 | 68.095 | 74 | 49 | 51.4602 | 81 | 90.886 | 71.892 | 72.8178 | 67.531 | 101.9831 | 77.2655 | 63.8606 | 65.6741 | 89.7639 | 83 | 99 | 80.7869 | 73.703 | 70 | 70 | 73.5462 | 58.0337 | 70 | 26 | 64 | 43 | 73 | 71.7871 | 34.8535 | 23 | 26 | 92 | 32 | 89 | 89 | 67 | 88 | 64.5642 | 66 | 78
M3PFBA | 81.0815 | 78.7703 | 68.8668 | 69 | 42 | 53.4271 | 67 | 59.5318 | 56.8001 | 61.0066 | 50.6355 | 61.7406 | 81.9985 | 79.1734 | 84.9057 | 70.035 | 58 | 67 | 112.8033 | 128.3573 | 111 | 149 | 153.731 | 136.4599 | 148 | 144 | 134 | 156 | 164 | 166.2643 | 137.5589 | 120 | 148 | 169 | 155 | 156 | 143 | 108 | 174 | 154.7547 | 154 | 169
M3PFBS | 93.8235 | 98.8026 | 96.1538 | 94 | 56 | 62.6852 | 94 | 77.6486 | 82.5096 | 88.2576 | 70.442 | 92.7261 | 86.6229 | 108.522 | 104.5551 | 91.1267 | 94 | 84 | 46.0639 | 62.0979 | 53 | 121 | 112.1419 | 75.5454 | 97 | 70 | 104 | 114 | 47 | 50.2772 | 113.5299 | 102 | 103 | 122 | 118 | 111 | 126 | 76 | 126 | 115.0606 | 113 | 114
M3PFHxS | 79.3789 | 85.4862 | 75.4446 | 67 | 46 | 51.5634 | 85 | 70.2671 | 64.4336 | 64.1121 | 70.1723 | 80.6326 | 86.2095 | 79.9191 | 92.8563 | 78.9241 | 63 | 67 | 52.4617 | 66.2215 | 67 | 103 | 96.0941 | 77.041 | 95 | 87 | 98 | 102 | 66 | 57.6702 | 94.8212 | 97 | 116 | 123 | 107 | 104 | 101 | 68 | 114 | 97.6879 | 109 | 107
M4PFBA | 66.5552 | 65.148 | 57.6916 | 59 | 32 | 44.5084 | 54 | 45.4791 | 43.52 | 54.7096 | 35.5978 | 49.8361 | 72.7567 | 76.5002 | 79.5869 | 61.5114 | 53 | 62 | 67.7448 | 100.7527 | 94 | 107 | 121.5918 | 109.7625 | 124 | 116 | 115 | 122 | 109 | 107.2549 | 114.2279 | 101 | 120 | 115 | 126 | 125 | 113 | 83 | 112 | 102.6871 | 102 | 107
M4PFHpA | 84.3011 | 88.0565 | 92.592 | 83 | 51 | 60.7439 | 82 | 82.3992 | 82.7014 | 78.9484 | 65.9601 | 83.7037 | 91.9886 | 90.6006 | 90.4176 | 89.0861 | 81 | 82 | 55.5374 | 66.6464 | 68 | 99 | 116.3421 | 68.5476 | 116 | 87 | 106 | 117 | 48 | 52.9881 | 115.9277 | 114 | 110 | 112 | 120 | 115 | 113 | 88 | 113 | 101.0464 | 91 | 107
M4PFOA | 92.9564 | 97.028 | 97.4873 | 88 | 52 | 67.4724 | 100 | 92.878 | 85.0388 | 83.7575 | 71.0094 | 98.0177 | 97.9134 | 95.1361 | 98.1157 | 93.542 | 78 | 75 | 76.9071 | 93.2515 | 96 | 128 | 144.7505 | 85.6792 | 145 | 125 | 138 | 152 | 82 | 92.8262 | 145.8695 | 144 | 139 | 169 | 143 | 151 | 140 | 82 | 182 | 147.4558 | 138 | 156
M4PFOS | 71.8581 | 90.9576 | 78.9134 | 76 | 41 | 58.8478 | 89 | 66.8638 | 90.1624 | 89.0989 | 74.3702 | 75.8925 | 69.8132 | 99.2651 | 78.5009 | 96.6987 | 51 | 61 | 124.5331 | 139.7086 | 118 | 157 | 120.1014 | 118.4108 | 99 | 85 | 123 | 89 | 152 | 134.5035 | 60.1017 | 101 | 68 | 153 | 104 | 133 | 97 | 95 | 147 | 127.6175 | 147 | 149
M5NEtFOSA | 33.4336 | 25.1829 | 24.8879 | 39 | 11 | 35.7378 | 48 | 40.4261 | 37.9363 | 43.9411 | 31.6285 | 44.6205 | 21.0217 | 26.1256 | 28.1261 | 47.7229 | 26 | 24 | 93.2473 | 84.8575 | 49 | 67 | 89.4925 | 48.245 | 88 | 52 | 85 | 55 | 96 | 89.4819 | 88.374 | 57 | 54 | 49 | 102 | 79 | 83 | 53 | 43 | 47.5283 | 57 | 54
M5NEtFOSAA | 72.7936 | 67.7314 | 63.5968 | 83 | 39 | 51.5387 | 105 | 101.36 | 73.7662 | 80.3691 | 64.4439 | 98.9536 | 67.0949 | 96.7487 | 78.1255 | 76.4037 | 79 | 59 | 73.7698 | 64.0045 | 91 | 59 | 94.7979 | 90.8188 | 92 | 33 | 69 | 34 | 78 | 74.1721 | 86.2006 | 31 | 39 | 87 | 39 | 87 | 88 | 79 | 85 | 79.5532 | 35 | 84
M5PFHxA | 92.6839 | 96.0748 | 91.8534 | 79 | 52 | 62.8707 | 87 | 86.522 | 77.5383 | 81.4675 | 69.3487 | 86.4075 | 81.6803 | 89.7467 | 90.1836 | 84.1306 | 75 | 67 | 39.0111 | 62.6747 | 60 | 103 | 100.4921 | 83.4449 | 101 | 64 | 103 | 111 | 36 | 42.5089 | 112.6313 | 110 | 102 | 110 | 107 | 110 | 108 | 70 | 107 | 103.7304 | 94 | 108
M5PFNA | 88.8853 | 93.0481 | 90.1195 | 86 | 54 | 66.944 | 98 | 92.8445 | 92.7258 | 92.9089 | 68.4806 | 98.859 | 96.7404 | 95.4664 | 92.8924 | 93.9464 | 75 | 74 | 91.313 | 123.1958 | 122 | 133 | 138.2408 | 108.4394 | 150 | 145 | 147 | 147 | 86 | 93.1196 | 156.6805 | 145 | 144 | 153 | 147 | 153 | 144 | 96 | 167 | 149.6628 | 132 | 145
M5PFPeA | 82.9784 | 87.6201 | 84.1058 | 71 | 46 | 52.2356 | 75 | 67.6905 | 74.5054 | 70.075 | 62.2534 | 75.8246 | 84.1605 | 80.1004 | 91.624 | 75.2624 | 70 | 61 | 29.6061 | 98.2363 | 90 | 110 | 106.6191 | 101.508 | 108 | 61 | 106 | 111 | 76 | 44.0299 | 107.2171 | 105 | 103 | 121 | 118 | 113 | 115 | 65 | 116 | 114.2608 | 111 | 118
M6PFDA | 85.6576 | 84.3643 | 80.4181 | 74 | 39 | 66.4105 | 77 | 79.384 | 73.2718 | 79.4868 | 56.3435 | 85.8512 | 77.5621 | 82.3301 | 92.52 | 81.339 | 60 | 57 | 100.8445 | 102.2366 | 104 | 96 | 112.7455 | 102.2471 | 86 | 102 | 104 | 97 | 95 | 101.5105 | 91.2178 | 69 | 88 | 112 | 119 | 106 | 121 | 93 | 117 | 103.3623 | 87 | 106
M7NMeFOSE | 65.4857 | 74.1481 | 73.9431 | 54 | 125 | 31.1808 | 117 | 57.7003 | 53.4199 | 59.3272 | 37.293 | 74.9704 | 65.1746 | 56.8331 | 73.0648 | 77.9208 | 38 | 25 | 60.7896 | 67.1945 | 67 | 58 | 60.5101 | 34.5395 | 76 | 33 | 68 | 41 | 99 | 108.7567 | 78.4716 | 29 | 36 | 82 | 76 | 74 | 69 | 42 | 76 | 49.863 | 48 | 43
M7PFUnA | 79.2156 | 83.0224 | 82.0848 | 77 | 36 | 55.4021 | 83 | 85.5302 | 75.5064 | 77.4969 | 64.2914 | 88.5973 | 76.2085 | 83.7396 | 81.6423 | 78.0756 | 61 | 50 | 103.6845 | 108.2966 | 102 | 96 | 109.7582 | 110.9295 | 111 | 44 | 90 | 52 | 101 | 102.852 | 43.1378 | 48 | 42 | 121 | 80 | 117 | 108 | 102 | 78 | 94.2278 | 57 | 97
M8PFOA | 86.7564 | 93.2986 | 86.2735 | 76 | 46 | 56.4319 | 83 | 81.6932 | 79.7654 | 77.4415 | 64.8921 | 86.4946 | 85.199 | 90.9402 | 90.1523 | 80.979 | 72 | 72 | 59.6747 | 70.8151 | 65 | 93 | 107.7611 | 67.3853 | 110 | 91 | 109 | 117 | 55 | 60.8573 | 114.5254 | 110 | 113 | 109 | 116 | 113 | 113 | 62 | 117 | 98.5978 | 90 | 105
M8PFOS | 65.317 | 72.0671 | 79.8831 | 68 | 25 | 50.1265 | 72 | 65.0855 | 71.5887 | 61.6894 | 48.1511 | 72.3909 | 82.8953 | 69.5086 | 71.2201 | 75.1013 | 61 | 42 | 82.8082 | 83.9549 | 88 | 97 | 104.9438 | 96.3162 | 82 | 68 | 79 | 61 | 97 | 113.1264 | 64.5161 | 69 | 62 | 108 | 89 | 90 | 90 | 73 | 114 | 111.8099 | 113 | 122
M8PFOSA | 72.0305 | 83.9321 | 79.3486 | 61 | 38 | 52.0684 | 77 | 74.3477 | 70.88 | 72.6322 | 55.5612 | 76.7583 | 75.3505 | 70.0398 | 67.2085 | 76.1701 | 48 | 25 | 103.3524 | 86.902 | 94 | 101 | 105.6123 | 100.84 | 90 | 55 | 105 | 56 | 107 | 99.9218 | 100.8127 | 53 | 45 | 99 | 108 | 99 | 92 | 95 | 90 | 91.9805 | 46 | 91
M9NEtFOSE | 50.369 | 23.5745 | 33.2521 | 59 | 2 | 29.978 | 58 | 51.9078 | 49.2517 | 49.527 | 32.6791 | 59.1047 | 31.2338 | 45.9056 | 42.5397 | 64.195 | 33 | 18 | 70.9788 | 73.2776 | 51 | 51 | 67.6252 | 37.5489 | 77 | 40 | 74 | 44 | 102 | 109.2828 | 77.5993 | 44 | 41 | 50 | 80 | 76 | 67 | 39 | 52 | 47.651 | 48 | 54
M9PFNA | 86.2214 | 88.5933 | 89.5499 | 75 | 45 | 63.5805 | 90 | 89.2689 | 77.524 | 84.3007 | 61.3504 | 91.2223 | 81.5067 | 86.8083 | 92.5927 | 83.1696 | 75 | 76 | 73.3599 | 100.6955 | 103 | 93 | 119.1384 | 93.501 | 116 | 120 | 121 | 126 | 60 | 70.0185 | 115.5405 | 120 | 115 | 106 | 127 | 126 | 129 | 85 | 117 | 102.359 | 88 | 107

## SPE vs DI
bolded values above detection limits for both SPE and DI and included in figure S5
| SPE | [5 empty] | DI
| WFD1 | WFD2 | WFD3 | WFD4 | RFD1 | RFD3 | WFD1 | WFD2 | WFD3 | WFD4 | RFB-D1 | RFB-D3
11Cl-PF3OUdS | ND | ND | ND | ND | ND | ND | 327.814 | 90.196 | 524.6 | ND | 285.91 | 429.287
3-3FTCA | ND | ND | 0 | 31.791 | 0 | ND | ND | ND | ND | ND | ND | ND
4-2FTS | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
5-3FTCA | 25.949 | 6.832 | ND | 16.812 | 143.184 | 75.01 | ND | ND | ND | ND | ND | ND
6-2FTS | 44.952 | 37.969 | 50.57 | 82.68 | 827.369 | 1523.412 | ND | ND | ND | ND | ND | ND
7-3FTCA | ND | ND | ND | ND | 113.696 | 113.933 | ND | ND | ND | ND | ND | ND
8-2FTS | ND | ND | ND | ND | 255.933 | 645.658 | ND | ND | ND | ND | ND | ND
9Cl-PF3ONS | ND | ND | ND | ND | 12.393 | 34.637 | ND | ND | ND | ND | ND | ND
ADONA | ND | ND | ND | ND | 2.215 | 2.814 | ND | ND | 669.103 | ND | ND | ND
HFPODA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
NEtFOSA | ND | ND | ND | ND | ND | 472.018 | ND | ND | ND | ND | ND | ND
NEtFOSAA | ND | ND | ND | 126.629 | 4910.683 | 10060.757 | ND | ND | ND | ND | ND | ND
NEtFOSE | ND | ND | ND | ND | ND | 199.5 | ND | ND | ND | ND | ND | ND
NFDHA | ND | ND | ND | ND | ND | ND | ND | ND | 1082.294 | ND | ND | ND
NMeFOSA | ND | ND | ND | ND | ND | 0 | ND | ND | ND | ND | ND | ND
NMeFOSAA | 47.171 | ND | ND | 106.62 | 3341.648 | 5615.308 | ND | ND | ND | ND | 3786.621 | 8266.008
NMeFOSE | ND | 112.025 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFBA | ND | ND | ND | 27.144 | 130.541 | 102.996 | ND | ND | 2517.987 | ND | ND | ND
PFBS | 11.225 | 15.669 | ND | 17.787 | 11.933 | 9.363 | ND | ND | ND | ND | ND | ND
PFDA | 68.805 | 50.301 | 49.879 | 77.377 | 2226.844 | 5439.481 | ND | ND | ND | ND | 2455.025 | 7380.091
PFDoA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFDoS | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFDS | ND | ND | ND | ND | 171.831 | 358.089 | ND | ND | ND | ND | ND | 5297.81
PFEESA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFHpA | 79.333 | 83.173 | 61.754 | 130.211 | 323.317 | 444.158 | ND | ND | ND | ND | ND | ND
PFHpS | 32.467 | 27.36 | 29.496 | 47.423 | 1932.67 | 2156.277 | ND | ND | ND | ND | 3970.701 | 5943.504
PFHxA | 83.52 | 86.618 | 78.273 | 127.392 | 337.133 | 699.079 | 278.666 | 229.157 | 1218.378 | 261.659 | 744.432 | 1120.198
PFHxS | 406.041 | 252.565 | 186.525 | 471.064 | 9058.045 | 6704.405 | ND | ND | ND | ND | 8183.507 | 7534.668
PFMBA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFMPA | ND | ND | ND | ND | 23.854 | ND | ND | ND | ND | ND | ND | ND
PFNA | 149.342 | 105.963 | 110.223 | 179.103 | 8051.751 | 13069.423 | ND | ND | ND | ND | 9200.557 | 16166.976
PFNS | ND | ND | ND | ND | 105.164 | 147.122 | ND | ND | ND | ND | ND | ND
PFOA | 1263.338 | 831.528 | 738.587 | 1526.184 | 51533.306 | 40937.806 | 913.071 | ND | 1293.455 | 928.345 | 47442.014 | 38872.013
PFOS | 1563.553 | 948.344 | 756.358 | 1580.405 | 61768.812 | 99191.84 | ND | ND | 227.757 | 1215.576 | 75322.246 | 182007.841
PFOSA | 14.714 | 13.405 | 11.434 | 50.939 | 240.725 | 765.634 | ND | ND | ND | ND | ND | ND
PFPeA | 40.499 | 52.239 | 153.061 | 52.676 | 63.031 | 1160.926 | ND | ND | ND | ND | ND | ND
PFPeS | 10.535 | 7.248 | 7.791 | ND | 17.705 | 34.977 | ND | ND | ND | ND | ND | ND
PFTeDA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFTrDA | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
PFUnA | ND | ND | ND | ND | 116.315 | 221.057 | ND | ND | ND | ND | ND | ND

## Residual solids
Sample ID | Dry mass (g) | extractant volume (ml)
RF-S-D2 | 0.3229 | 20
RF-S-D3 | 0.1694 | 20
RF-S-D4 | 0.779 | 20
| RF-S-D2 |  | RF-S-D3 |  | RF-S-D4
PFAS | ng/g | ng/kg | ng/g | ng/kg | ng/g | ng/kg
11Cl-PF3OUdS
3-3FTCA
4-2FTS
5-3FTCA
6-2FTS
7-3FTCA
8-2FTS | 716.4357 | 716435.6767
9Cl-PF3ONS
ADONA
HFPODA
NEtFOSA
NEtFOSAA |  |  | 1442.7706 | 1442770.6021
NEtFOSE
NFDHA
NMeFOSA
NMeFOSAA |  |  | 3627.032 | 3627031.9953 | 1285.0875 | 1285087.5481
NMeFOSE
PFBA
PFBS
PFDA | 2399.8704 | 2399870.3623 | 7004.7992 | 7004799.1736 | 1441.7654 | 1441765.3915
PFDoA
PFDoS
PFDS |  |  |  |  | 219.578 | 219577.9718
PFEESA
PFHpA
PFHpS | 631.4194 | 631419.4487 | 1271.844 | 1271844.0378
PFHxA
PFHxS | 1220.3542 | 1220354.1654 |  |  | 770.2187 | 770218.665
PFMBA
PFMPA
PFNA | 3601.7474 | 3601747.3521 | 8099.7701 | 8099770.1299 | 1771.0847 | 1771084.7497
PFNS
PFOA | 7504.5679 | 7504567.8538 | 4958.1506 | 4958150.6494 | 3236.9588 | 3236958.819
PFOS | 53126.8295 | 53126829.4828 | 95210.2136 | 95210213.5773 | 23840.6348 | 23840634.8395
PFOSA
PFPeA
PFPeS
PFTeDA
PFTrDA
PFUnA
empty cells are intentionally left blank due to non-detection

## Enrichment
Enrichment factor (foam/effluent)
PFAS | TFD1-01 | TFD1-02 | TFD2-01 | TFD2-02 | TFD3-01 | TFD3-02 | WFD1 | WFD2 | WFD3 | RFD1 | RFD1-sampler | RFB-D2 | RFD3 | RFD2-solid-A | RFD3-solid-B
PFBA | 0.24218 | 0.59131 | 0.75994 | 0.6419 | 2.2079 | 2.0673 |  |  |  | 1.251 |  |  | 5.8724
PFPeA | 1.0039 | 1.8062 | 1.1563 | 1.3366 | 1.4952 | 5.0403 | 1.2371 | 1.5538 | 3.5878 | 1.9254 |  |  | 27.2128
PFHxA | 2.2363 | 3.9389 | 2.2921 | 2.8648 | 2.0959 | 5.1892 | 5.696 | 5.0509 | 4.117 | 22.9921 | 52.6836 | 61.1355 | 36.7704
PFHpA | 9.6035 | 29.5274 | 6.7219 | 8.9835 | 6.2637 | 25.4879 | 33.7157 | 19.3741 | 17.2161 | 137.4063 |  | 356.2574 | 123.8244
PFOA | 45.27 | 170.4147 | 44.6911 | 68.8121 | 28.8025 | 92.8749 | 227.5875 | 169.423 | 107.7914 | 9283.6076 | 4005.3774 | 13604.3142 | 5974.5776 | 24686.4808 | 6128.9457
PFBS | 1.2398 | 1.9392 | 1.676 | 2.6329 | 2.4296 | 3.7112 | 1.6605 | 2.5395 |  | 1.7652 |  |  | 1.758
PFHxS | 27.9102 | 93.8484 | 22.8559 | 36.5694 | 19.0647 | 58.5182 | 107.589 | 78.2419 | 42.3728 | 2400.1179 | 1438.3492 | 4680.1351 | 1523.0361 | 6103.6611
PFOS | 672.3072 | 3397.3926 |  |  | 295.5738 | 731.252 | 3610.9769 |  | 744.4469 | 142653.1455 | 140579.8915 |  | 97629.7638 |  | 793730.8159
empty cells are intentionally left blank due to non-detection in either foam or effluent

## Mass in foam
| average mass/L of foam |  |  | average mass in one foam volume (4021 L of foam) |  | average daily effluent mass | mass per day in 44 foam volumes per hour |  | mass per day in 21.3 foam volumes per hour
| normal flow post-tertiary foam | wall foam | river foam | normal flow post-tertiary foam | wall foam | effluent | normal flow post-tertiary foam |  | wall foam
Liquid volume |  |  |  | 231.13 L | 121.79 L | 95100000 L/d | 244000 L/d |  | 62300 L/d
PFAS | ng/L | ng/L | ng/L | ug | ug | mg/d | mg/d | % of effluent mass | mg/d | % of effluent mass
3-3FTCA | 2.2575 | 0.16701 |  | 9.0774 | 0.67153 |  | 9.5858 |  | 0.34329
5-3FTCA | 0.26715 | 0.30153 | 0.74359 | 1.0742 | 1.2125 |  | 1.1344 |  | 0.61981
7-3FTCA |  |  | 0.79071
6-2FTS | 0.9383 | 1.5647 | 11.4633 | 3.7729 | 6.2915 |  | 3.9842 |  | 3.2162
8-2FTS |  |  | 4.3101
NEtFOSA |  |  | 1.7386
NEtFOSAA | 0.93176 | 0.66522 | 77.3236 | 3.7466 | 2.6748 |  | 3.9564 |  | 1.3674
NEtFOSE |  |  | 0.73481
NMeFOSAA | 1.1392 | 0.84773 | 57.9465 | 4.5808 | 3.4087 |  | 4.8373 |  | 1.7425
NMeFOSE |  | 0.90166 |  |  | 3.6256 |  |  |  | 1.8534
PFOSA | 0.41904 | 0.58971 | 11.3038 | 1.6849 | 2.3712 |  | 1.7793 |  | 1.2122
PFBS | 0.55811 | 0.288 | 0.073432 | 2.2442 | 1.1581 | 580.7046 | 2.3698 | 0.40809 | 0.592 | 0.10194
PFPeS | 0.11925 | 0.20741 | 0.34572 | 0.47949 | 0.83398 | 82.4399 | 0.50634 | 0.61419 | 0.42633 | 0.51714
PFHxS | 5.0563 | 9.0143 | 81.1752 | 20.3314 | 36.2465 | 363.5839 | 21.47 | 5.9051 | 18.5292 | 5.0963
PFHpS | 0.31519 | 0.98848 | 20.8098 | 1.2674 | 3.9747 |  | 1.3383 |  | 2.0318
PFOS | 16.2981 | 33.7048 | 949.5045 | 65.5347 | 135.5267 | 69.7457 | 69.2046 | 99.2242 | 69.2813 | 99.334
PFNS |  |  | 3.6842
PFDS | 0.042193 |  | 2.4302 | 0.16966 |  |  | 0.17916
PFBA | 2.3801 | 0.1426 | 0.8054 | 9.5704 | 0.57337 | 6636.2105 | 10.1064 | 0.15229 | 0.29311 | 0.0044168
PFPeA | 2.7055 | 2.6107 | 5.603 | 10.8789 | 10.4977 | 3477.3502 | 11.4881 | 0.33037 | 5.3664 | 0.15433
PFHxA | 2.1768 | 2.7279 | 5.8098 | 8.7527 | 10.969 | 1620.8194 | 9.2429 | 0.57026 | 5.6074 | 0.34596
PFHpA | 1.5211 | 2.5096 | 5.2449 | 6.1163 | 10.0912 | 326.4167 | 6.4589 | 1.9787 | 5.1586 | 1.5804
PFOA | 13.2276 | 30.4556 | 455.1451 | 53.188 | 122.4619 | 552.0841 | 56.1666 | 10.1736 | 62.6025 | 11.3393
PFNA | 2.0656 | 3.9045 | 107.2864 | 8.3059 | 15.7001 |  | 8.771 |  | 8.0259
PFDA | 0.99338 | 1.774 | 47.2586 | 3.9944 | 7.1332 |  | 4.218 |  | 3.6465
PFUnA |  |  | 1.1938
empty cells are intentionally left blank due to non-detection in either foam or effluent

## Plant data
TEF = tertiary effluent
Date | TEF PO4 (mg/L) | TEF total suspended solids (mg/L) | TEF carbonaceous BOD (mg/L) | average daily flow (MGPD) | average daily flow (L/d) | TEF fecal coliform count (ct/100 mL) | Outfall pH | Outfall DO (mg/L) | TEF temp C
2023-11-01 | 0.2 | 3.4 | 6.5 | 25.91 | 98069350 | 94 | 7.8 | 7.2 | 20.8
2023-11-02 | 0.2 | 3.6 | 4.7 | 26.09 | 98750650 | 420 | 7.7 | 7.1 | 20.8
2023-11-03 | 0.22 | 3.7 | 2 | 25.29 | 95722650 | 330 | 7.7 | 7.2 | 20.8
2023-11-04 | 0.21 | 4.1 | 2.3 | 24.42 | 92429700 | 46 | 7.7 | 7.2 | 21
2023-11-05 | 0.21 | 3.2 | 2.2 | 24.88 | 94170800 | 33 | 7.7 | 7.3 | 21.1
2023-11-06 | 0.35 | 3.3 | 2.4 | 25.08 | 94927800 | 39 | 7.7 | 7.2 | 20.9
2023-11-07 | 0.21 | 4.7 | 2.7 | 25.18 | 95306300 | 32 | 7.7 | 7.1 | 21
2023-11-08 | 0.25 | 4.8 | 2.6 | 25.58 | 96820300 | 160 | 7.7 | 7 | 20.9
2023-11-09 | 0.25 | 5.1 | 7.1 | 25.67 | 97160950 | 370 | 7.8 | 7 | 21.1
2023-11-10 | 0.24 | 4.9 | 2.9 | 24.72 | 93565200 | 1700 | 7.7 | 6.9 | 21.1
2023-11-11 | 0.19 | 4.3 | 2.5 | 23.78 | 90007300 | 89 | 7.8 | 7.2 | 20.8
2023-11-12 | 0.19 | 3.8 | 2.4 | 23.8 | 90083000 | 44 | 7.4 | 7.2 | 20.5
2023-11-13 | 0.2 | 4.3 | 2.5 | 24.74 | 93640900 | 51 | 7.8 | 7.2 | 20.5
2023-11-14 | 0.22 | 4.4 | 2.7 | 24.58 | 93035300 | 49 | 7.7 | 7.3 | 20.5
2023-11-15 | 0.28 | 3.1 | 2.9 | 24.76 | 93716600 | 115 | 7.8 | 7.1 | 20.6
2023-11-16 | 0.24 | 2.9 | 2.9 | 24.68 | 93413800 | 450 | 7.7 | 7.2 | 20.8
2023-11-17 | 0.24 | 4.1 | 3 | 25.01 | 94662850 | 230 | 7.8 | 6.9 | 20.8
2023-11-18 | 0.28 | 4.4 | 3.2 | 24.72 | 93565200 | 580 | 7.8 | 7.2 | 20.9
2023-11-19 | 0.22 | 3.6 | 2.3 | 24.12 | 91294200 | 70 | 7.8 | 7.1 | 20.9
2023-11-20 | 0.18 | 4.1 | 2.4 | 24.68 | 93413800 | 104 | 7.7 | 7.2 | 20.1
2023-11-21 | 0.2 | 4.4 | 2.5 | 25.46 | 96366100 | 215 | 7.8 | 7.3 | 19.9
2023-11-22 | 0.19 | 4.1 | 2.4 | 24.68 | 93413800 | 68 | 7.7 | 7.5 | 19.5
2023-11-23 | 0.21 | 3.1 | 1.7 | 23.03 | 87168550 | 59 | 7.7 | 7.3 | 19.6
2023-11-24 | 0.2 | 3.1 | 2.3 | 22.21 | 84064850 | 26 | 7.7 | 7.6 | 19.2
2023-11-25 | 0.24 | 3.8 |  | 22.42 | 84859700 | 42 | 7.7 | 7.7 | 19
2023-11-26 | 0.22 | 5.1 | 3.4 | 23.43 | 88682550 | 46 | 7.8 | 7.5 | 18.9
2023-11-27 | 0.22 | 5.5 | 3.8 | 24.79 | 93830150 | 38 | 7.8 | 7.7 | 18.7
2023-11-28 | 0.25 | 4.1 |  | 23.3 | 88190500 | 175 | 7.7 | 7.6 | 18.5
2023-11-29 | 0.26 | 5.9 |  | 23.93 | 90575050 | 130 | 7.7 | 7.6 | 18.4
2023-11-30 | 0.29 | 5.7 |  | 24.75 | 93678750 | 590 | 7.7 | 7.4 | 19.1